Appendix 2:   List of Crossing of Electrical Lines

| No. | Station | Intersection angle | Type | I.P Elev. | Wires | Bars | Space Clearance | Pillar high |  | Type of pillar | Pillar's dimension |  |  | Perpendicular distance |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Left | Right |  | Side 1 | Side 2 | Φ | Left | Right |
| 1 | Km0-527.96 | 36o15'00'' | 220KV | 7.123 | 8 | 8 | 12.78 | 15.55 | 15.53 | 4 legged steel |  |  |  | 152.52 | 113.34 |
| 2 | Km0+24.3 | 76o12'00'' | 35KV | 8.882 | 3 | 2 | 7.8 | 9.67 | 9.68 | Steel reinforced concrete |  |  | 0.35 | 26.91 | 49.97 |
| 3 | Km0+24.3 | 76o12'00'' | TT | 8.882 | 1 | 0 | 4.9 | 5.23 | 5.25 | Steel reinforced concrete | 0.25 | 0.2 |  | 26.91 | 49.97 |
| 4 | Km0+37.8 | 77o47'00" | TT | 1.973 | 1 | 0 | 4.3 | 5.23 | 5.25 | Steel reinforced concrete | 0.25 | 0.20 |  | 32.07 | 17.35 |
| 5 | Km0+583.8 | 141o39'00" | 220V | 21.959 | 3 | 2 | 5.7 | 6.55 | 6.53 | Steel reinforced concrete |  |  | 0.30 | 52.96 | 25.39 |
| 6 | Km0+592.2 | 148o'42"00 | 35KV | 21.645 | 3 | 2 | 9.05 | 9.67 | 9.68 | Steel reinforced concrete |  |  | 0.35 | 24.28 | 33.12 |
| 7 | Km0+597.7 | 142o39'00'' | TT | 21.773 | 1 | 0 | 5.0 | 5.23 | 5.25 | Steel reinforced concrete | 0.25 | 0.20 |  | 24.27 | 33.12 |
| 8 | Km0+800 | 77o23'00'' | 220KV | 6.336 | 8 | 8 | 17.4 |  |  | 4 legged steel |  |  |  | 128.11 | 433.95 |
| 9 | Km1+570.35 | 45o05'00'' | 35KV | 1.364 | 3 | 2 | 9.85 | 10.07 | 10.08 | Steel reinforced concrete |  |  | 0.35 | 15.64 | 129.37 |
| 10 | Km1+596.59 | 36o15'00'' | 110KV | -1.76 | 8 | 8 | 13.2 | 12.55 | 12.53 | 4 legged steel |  |  |  | 71.56 | 113.05 |
| 11 | Km3+050.509 | 90o33'00'' | 35KV | 3.187 | 3 | 2 | 8.90 | 9.67 | 9.68 | Steel reinforced concrete |  |  | 0.35 | 19.23 | 29.56 |
| 12 | Km4+434 | 69o02'00'' | 220KV | 3.406 | 8 | 8 | 12.7 | 14.55 | 14.53 | 4 legged steel |  |  |  | 222.28 | 190.34 |
| 13 | Km5+518.75 | 52o33'00'' | 220V | 4.115 | 3 | 2 | 5.9 | 10.55 | 10.53 | Steel reinforced concrete |  |  | 0.30 | 24.96 | 22.16 |
| 14 | Km5+745.8 | 125o43'00'' | 35KV | 4.935 | 3 | 2 | 8.95 | 9.67 | 9.68 | Steel reinforced concrete |  |  | 0.35 | 24.14 | 28.09 |
| 15 | Km5+745.8 | 109o03'00'' | TT | 4.935 | 1 | 0 | 4.3 | 5.23 | 5.25 | Steel reinforced concrete | 0.25 | 0.20 |  | 6.81 | 36.36 |
| 16 | Km7+369.65 | 88o41'00'' | 35KV | 5.167 | 3 | 2 | 9.7 | 10.07 | 10.08 | Steel reinforced concrete |  |  | 0.35 | 8.709 | 43.799 |
| 17 | Km7+923 | 109o03'00'' | TT | 4.41 | 1 | 0 | 3.5 | 5.23 | 5.25 | Steel reinforced concrete | 0.25 | 0.20 |  | 55.28 | 25.59 |
| 18 | Km7+957.70 | 86o54'00 | 220V | 3.76 | 3 | 2 | 6.8 | 10.55 | 10.53 | Steel reinforced concrete |  |  | 0.30 | 52.32 | 10.46 |
| 19 | Km8+038.00 | 105o04'48'' | 15KV | 2.971 | 3 | 1 | 11.05 | 10.49 | 10.65 | Steel reinforced concrete |  |  | 0.30 | 58.3 | 53.55 |
| 20 | Km8+470.50 | 92o41' | 220V | 4.906 | 2 | 1 | 5.06 | 5.22 | 4.74 | Steel reinforced concrete | 0.25 | 0.20 |  | 32.03 | 4.55 |
| 21 | Km8+980.00 | 35o09' | 6KV | 5.485 | 3 | 1 | 7.08 | 8.89 | 8.98 | Steel reinforced concrete | 0.40 | 0.20 |  | 50.16 | 29.27 |
| 22 | Km9+27.00 | 79o00' | TT | 5.515 | 3 | 0 | 4.87 | 5.30 | 4.90 | Steel reinforced concrete | 0.25 | 0.20 |  | 3.70 | 25.89 |
| 23 | Km9+43.00 | 79o02' | 220V | 5.525 | 4 | 1 | 5.00 | 6.1 | 5.93 | Steel reinforced concrete | 0.30 | 0.25 |  | 37.35 | 31.07 |
| 24 | Km9+381.30 | 113o15'47'' | 6KV | 6.859 | 3 | 1 | 9.42 | 10.61 | 8.93 | Steel reinforced concrete |  |  | 0.30 | 73.42 | 3.73 |
| 25 | Km9+464.00 | 29o03'37'' | 220KV | 7.249 | 8 | 4 | 9.87 | 39.18 | 40.83 | Steel | 7.00 | 7.00 |  | 101.10 | 181.80 |
| 26 | Km10+330 | 163o41' | 220KV | 5.704 | 8 | 4 | 7.56 | 40.90 | 40.83 | Steel | 4.00 | 4.00 |  | 166.14 | 176.28 |
| 27 | Km10+554.0 | 92o12'45'' | 220V | 5.207 | 3 | 1 | 7.73 | 8.98 | 9.30 | Steel reinforced concrete |  |  | 0.30 | 16.80 | 79.03 |
| 28 | Km10+764.5 | 89o89' | 220V | 6.521 | 4 | 1 | 5.17 | 7.28 | 7.02 | Steel reinforced concrete |  |  | 0.30 | 28.67 | 16.14 |
| 29 | Km10+770 | 90o20'01" | TT | 6.426 | 1 | 0 | 4.07 | 4.64 | 4.81 | Steel reinforced concrete | 0.20 | 0.15 |  | 10.17 | 25.93 |
| 30 | Km13+87.0 | 103o34' | 6KV | 5.755 | 3 | 1 | 8.15 | 8.76 | 8.97 | Steel reinforced concrete |  |  | 0.30 | 90.61 | 8.88 |
| 31 | Km13+307 | 18o43'36" | 220KV | 4.91 | 8 | 4 | 12.96 | 40.76 | 45.89 | Steel | 4.00 | 4.00 |  | 194.67 | 176.01 |
| 32 | Km13+620 | 94o57' | TT | 5.91 | 1 | 0 | 4.90 | 5.21 | 5.08 | Steel reinforced concrete | 0.25 | 0.20 |  | 2.17 | 36.36 |
| 33 | Km13+637 | 104o49' | 220V | 7.063 | 4 | 1 | 8.82 | 9.37 | 6.95 | Steel reinforced concrete |  |  | 0.30 | 5.46 | 25.73 |
| 34 | Km13+820 | 40o06' | 220V | 6.259 | 4 | 1 | 6.78 | 7.05 | 7.00 | Steel reinforced concrete |  |  | 0.30 | 49.50 | 48.35 |
| 35 | Km13+909.5 | 140o43' | 15KV | 6.004 | 3 | 1 | 9.44 | 12.31 | 10.30 | Steel reinforced concrete |  |  | 0.50 | 63.56 | 62.19 |
| 36 | Km14+112 | 44o37' | 6KV | 6.894 | 7 | 2 | 4.99 | 8.84 | 8.74 | Steel reinforced concrete | 0.35 | 0.25 |  | 37.59 | 23.57 |
| 37 | Km14+243.5 | 30o45' | TT | 6.672 | 1 | 0 | 4.30 | 4.57 | 4.66 | Steel reinforced concrete | 0.25 | 0.20 |  | 5.25 | 30.68 |
| 38 | Km14+276.2 | 115o57' | 220V | 6.674 | 4 | 1 | 6.31 | 7.25 | 7.31 | Steel reinforced concrete |  |  | 0.30 | 24.37 | 21.14 |
| 39 | Km14+471.5 | 111o26'30" | 220V | 6.054 | 4 | 1 | 6.81 | 5.60 | 7.46 | Steel reinforced concrete |  |  | 0.30 | 3.15 | 2.50 |
| 40 | Km16+200 | 102o32' | TT | 5.216 | 1 | 0 | 4.30 | 4.91 | 4.95 | Steel reinforced concrete | 0.25 | 0.20 |  | 33.55 | 4.96 |
| 41 | Km16+205.6 | 106o58' | 220V | 4.651 | 4 | 1 | 6.83 | 7.29 | 7.39 | Steel reinforced concrete |  |  | 0.30 | 9.80 | 44.12 |
| 42 | Km16+426 | 54o01' | 220V | 5.134 | 2 | 1 | 5.77 | 6.15 | 6.07 | Steel reinforced concrete |  |  | 0.30 | 34.65 | 10.40 |
| 43 | Km16+631.5 | 136o41' | 220V | 5.435 | 4 | 1 | 5.60 | 6.15 | 6.19 | Steel reinforced concrete |  |  | 0.30 | 10.43 | 33.75 |
| 44 | Km16+785.5 | 56o41' | 220V | 5.831 | 4 | 1 | 6.35 | 5.71 | 7.11 | Steel reinforced concrete |  |  | 0.30 | 20.43 | 32.90 |
| 45 | Km16+853.5 | 150o00' | 220V | 5.803 | 4 | 1 | 3.62 | 7.37 | 7.48 | Steel reinforced concrete |  |  | 0.30 | 24.70 | 22.47 |
| 46 | Km16+863.5 | 152o46' | TT | 5.648 | 1 | 0 | 3.88 | 4.47 | 4.32 | Steel reinforced concrete | 0.20 | 0.15 |  | 28.40 | 4.43 |
| 47 | Km16+880 | 66o33' | 220V | 5.443 | 4 | 1 | 4.38 | 7.41 | 7.21 | Steel reinforced concrete |  |  | 0.30 | 12.60 | 34.40 |
| 48 | Km18+077.90 | 87o06'36" | 220V | 5.01 | 4 | 1 | 7.01 | 7.21 | 7.22 | Steel reinforced concrete |  |  | 0.25 | 39.10 | 1.30 |
| 49 | Km18+109.50 | 75O04'59" | 6KV | 5.27 | 3 | 1 | 8.42 | 8.70 | 8.75 | Steel reinforced concrete |  |  | 0.35 | 31.96 | 56.70 |
| 50 | Km18+214.60 | 16o10'06" | TT | 5.50 | 4 | 1 | 6.5 | 6.70 | 6.70 | Steel reinforced concrete | 0.2 | 0.2 |  | 7.61 | 2.32 |
| 51 | Km19+208.20 | 94o54'40" | 220V | 6.44 | 4 | 1 | 6.95 | 7.16 | 7.22 | Steel reinforced concrete |  |  | 0.25 | 6.03 | 2.62 |
| 52 | Km19+423.20 | 75o04'59" | 250KV | 5.29 | 4 | 2 | 14.8 | 46.3 | 46.3 | Iron | 6.5 | 6.5 |  | 42.4 | 28.55 |
| 53 | Km19+491.00 | 90o10'49" | 220V | 6.16 | 4 | 1 | 5.25 | 5.43 | 5.45 | Steel reinforced concrete |  |  | 0.25 | 7.61 | 2.32 |
| 54 | Km19+569.37 | 95o32'32" | 220V | 6.34 | 4 | 1 | 6.0 | 6.3 | 6.3 | Steel reinforced concrete |  |  | 0.25 | 18.03 | 5.57 |
| 55 | Km20+482.60 | 70o10'52" | 6KV | 13.5 | 3 | 1 | 6.3 | 6.6 | 6.6 | Steel reinforced concrete |  |  | 0.35 | 12.72 | 63.27 |
| 56 | Km21+471.36 | 46o15'46" | 220V | 12.8 | 4 | 1 | 4.09 | 4.35 | 4.35 | Steel reinforced concrete |  |  | 0.25 | 0.68 | 34.84 |
| 57 | Km21+536.9 | 56o58' | 220V | 12.58 | 4 | 1 | 4.5 | 5 | 5 | Steel reinforced concrete | 0.25 | 0.2 |  | 19.18 | 25.74 |
| 58 | Km23+284.4 | 39o53' | 220V | 6.46 | 4 | 1 | 4.2 | 5 | 5 | Steel reinforced concrete | 0.25 | 0.2 |  | 23.45 | 25.81 |
| 59 | Km23+537 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 60 | Km23+942.2 | 134o35 | 220V | 6.48 | 4 | 2 | 8.3 | 9 | 9 | Steel reinforced concrete |  |  | 0.35 | 12.59 | 22.46 |
| 61 | Km23+944.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 62 | Km24+220.0 | 80o52' | 220V | 11.37 | 3 | 2 | 9 | 9 | 9 | Steel reinforced concrete |  |  | 0.35 | 0.2 | 38.16 |
| 63 | Km24+222 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 64 | Km24+793.9 | 109o20' | 220V | 11.54 | 4 | 1 | 4.8 | 5 | 5 | Steel reinforced concrete |  |  | 0.35 | 6.08 | 22.70 |
| 65 | Km25+221.6 | 76o33'42" | 35KV | 8.56 | 3 | 2 | 8.5 | 9 | 9 | Steel reinforced concrete |  |  | 0.35 | 23.01 | 48.60 |
| 66 | Km27+428.6 | 165o12'41" | 220V | 11.80 | 4 | 1 | 5.3 | 6.3 | 6.3 | Steel reinforced concrete |  |  | 0.35 | 7.62 | 9.86 |
| 67 | Km27+572 | 110o56'00" | 35KV | 15.22 | 3 | 2 | 8.3 | 9 | 9 | Steel reinforced concrete |  |  | 0.35 | 1.58 | 41.67 |
| 68 | Km28+915 | 47o53'00" | 35KV | 14.18 | 3 | 2 | 7.5 | 9 | 9 | Steel reinforced concrete |  |  | 0.35 | 36.11 | 0.7 |
| 69 | Km30+323 | 120o30'12" | 220V | 17.50 | 2 | 1 | 3.5 | 4.5 | 4.5 | Steel reinforced concrete | 0.25 | 0.2 |  | 37.04 | 15.85 |
| 70 | Km32+074.96 | 58o55'53" | 220V | 19.76 | 4 | 1 | 7.3 | 7.58 | 7.6 | Steel reinforced concrete |  |  | 0.25 | 25.49 | 9.39 |
| 71 | Km34+990.37 | 15o07'29'' | 6KV | 27.91 | 3 | 1 | 11.5 | 12.4 | 13.8 | Steel reinforced concrete |  |  | 0.35 | 10.79 | 24.7 |
| 72 | Km35+432.40 | 83o06'46" | TEL | 28.71 | 5 | 1 | 4.18 | 5.21 | 5.19 | Steel reinforced concrete | 0.20 | 0.17 |  | 35.04 | 1.79 |
| 73 | Km35+498.34 | 82o10'06" | 6KV | 26.70 | 4 | 1 | 7.72 | 9.38 | 8.74 | Steel reinforced concrete |  |  | 0.48 | 52.36 | 42.19 |
| 74 | Km35+687.74 | 107o52'07" | 6KV | 28.50 | 4 | 1 | 7.93 | 8.89 | 9.21 | Steel reinforced concrete |  |  | 0.45 | 46.17 | 6.17 |
| 75 | Km36+588.36 | 123o26'11" | 220V | 21.25 | 4 | 1 | 5.88 | 6.25 | 6.38 | Steel reinforced concrete |  |  | 0.45 | 23.64 | 19.80 |
| 76 | Km37+641.26 | 98o38'27" | 220V | 14.27 | 4 | 1 | 6.96 | 6.81 | 7.04 | Steel reinforced concrete |  |  | 0.37 | 46.17 | 6.17 |
| 77 | Km40+130.28 | 81o42'42" | 220V | 16.01 | 3 | 1 | 8.35 | 9.47 | 9.53 | Steel reinforced concrete |  |  | 0.45 | 46.45 | 24.39 |
| 78 | Km41+219.70 | 108o00'31" | 6KV | 15.82 | 5 | 1 | 5.69 | 8.90 | 9.36 | Steel reinforced concrete |  |  | 0.45 | 3.35 | 70.02 |
| 79 | Km41+242.28 | 106o50'59" | TEL | 15.40 | 1 | 1 | 3.51 | 6.30 | 6.17 | Steel reinforced concrete | 0.15 | 0.20 |  | 3.02 | 90.85 |
| 80 | Km41+247.09 | 106o36'52" | TEL | 14.88 | 5 | 1 | 4.58 | 5.43 | 5.39 | Steel reinforced concrete | 0.15 | 0.20 |  | 0.66 | 23.47 |
| 81 | Km41+839.20 | 42o26'30" | 6KV | 14.66 | 4 | 2 | 7.29 | 8.85 | 9.12 | Steel reinforced concrete |  |  | 0.45 | 47.06 | 16.93 |
| 82 | Km41+854.68 | 42o07'06" | 6KV | 14.54 | 1 | 2 | 5.88 | 9.10 | 9.11 | Steel reinforced concrete |  |  | 0.45 | 18.82 | 43.53 |
| 83 | Km42+020.09 | 132o15'26" | 6KV | 14.56 | 4 | 2 | 10.85 | 10.81 | 8.87 | Steel reinforced concrete |  |  | 0.45 | 11.27 | 74.82 |
| 84 | Km42+718.33 | 39o15'18" | TEL | 14.56 | 1 | 1 | 6.67 | 6.60 | 6.67 | Steel reinforced concrete |  |  | 0.35 | 43.88 | 15.85 |
| 85 | Km42+728.08 | 51o53'14" | TEL | 14.67 | 3 | 1 | 4.57 | 5.04 | 6.08 | Steel reinforced concrete | 0.15 | 0.20 |  | 5.03 | 30.71 |
| 86 | Km42+928.35 | 102o12'18" | 220V | 14.49 | 4 | 1 | 6.09 | 6.17 | 6.39 | Steel reinforced concrete |  |  |  | 0.85 | 30.33 |
| 87 | Km43+669.69 | 98o35'45" | 6KV | 13.39 | 4 | 2 | 6.73 | 9.96 | 9.14 | Steel reinforced concrete |  |  | 0.48 | 42.64 | 37.82 |
| 88 | Km46+218.01 | 93o45'31" | TEL | 12.08 | 3 | 1 | 4.93 | 5.17 | 5.63 | Steel reinforced concrete | 0.15 | 0.20 |  | 6.42 | 40.97 |
| 89 | Km46+218.29 | 93o45'31" | 6KV | 12.08 | 3 | 1 | 7.90 | 8.38 | 8.59 | Steel reinforced concrete | 0.40 | 0.43 |  | 60.56 | 17.83 |
| 90 | Km47+139.38 | 104o22'35" | TEL | 11.46 | 2 | 1 | 5.00 | 5.59 | 5.59 | Steel reinforced concrete | 0.15 | 0.20 |  | 41.93 | 22.02 |
| 91 | Km47+142.54 | 100o2'51" | 220V | 11.38 | 4 | 1 | 6.34 | 6.33 | 6.00 | Steel reinforced concrete |  |  | 0.35 | 71.12 | 43.92 |
| 92 | Km48+385.85 | 101o24'45" | TEL | 13.52 | 1 | 1 | 3.70 | 5.55 | 5.49 | Steel reinforced concrete | 0.15 | 0.20 |  | 30.01 | 53.11 |
| 93 | Km49+027.05 | 111o9'38" | 220V | 12.85 | 4 | 1 | 7.80 | 7.43 | 7.53 | Steel reinforced concrete | 0.15 | 0.20 |  | 4.01 | 42.49 |
| 94 | Km51+098.97 | 54o35'56" | 220V | 14.50 | 3 | 1 | 5.42 | 6.58 | 6.41 |  |  |  | 0.45 | 63.37 | 30.24 |
| 95 | Km51+276.06 | 114o0'20" | TEL | 11.77 | 1 | 1 | 5.21 | 6.80 | 6.66 | Steel reinforced concrete |  |  | 0.35 | 59.63 | 35.59 |
| 96 | Km51+287.47 | 118o20'11" | 220V | 11.73 | 6 | 1 | 3.84 | 5.00 | 5.04 | Steel reinforced concrete | 0.15 | 0.20 |  | 19.77 | 15.08 |
| 97 | Km53+7.40 | 127o23'26" | 220V | 11.86 | 4 | 1 | 7.15 | 7.38 | 7.65 | Concrete |  |  | 0.20 | 2.30 | 44.70 |
| 98 | Km53+358.00 | 92o03'50" | 220V | 12.39 | 4 | 1 | 7.25 | 7.30 | 7.45 | Concrete |  |  | 0.20 | 17.30 | 10.70 |
| 99 | Km53+751.80 | 83o13'15" | 220V | 9.74 | 4 | 1 | 6.74 | 7.31 | 7.04 | Concrete |  |  | 0.30 | 4.90 | 39.87 |
| 100 | Km54+072.00 | 147o52'22" | 220V | 9.53 | 4 | 1 | 7.37 | 7.43 | 6.92 | Concrete |  |  | 0.20 | 5.60 | 20.54 |
| 101 | Km54+216.00 | 82o41'12" | TEL | 8.11 | 1 | 0 | 4.55 | 5.24 | 5.35 | Concrete | 0.20 | 0.20 |  | 37.10 | 12.90 |
| 102 | Km54+216.90 | 82o41'12" | 35KV | 8.11 | 3 | 1 | 9.00 | 9.25 | 9.26 | Concrete |  |  | 0.30 | 61.40 | 2.37 |
| 103 | Km54+216.90 | 82o41'12" | 220V | 8.11 | 4 | 1 | 6.64 | 9.25 | 9.26 | Concrete |  |  | 0.30 | 61.40 | 2.37 |
| 104 | Km54+515.70 | 119o54'17" | 220V | 8.47 | 4 | 1 | 6.39 | 7.33 | 7.21 | Concrete |  |  | 0.20 | 13.33 | 45.60 |
| 105 | Km56+040.00 | 140o42'55" | 220V | 6.32 | 1 | 0 | 6.05 | 6.43 | 0.00 | Concrete |  |  | 0.20 | 6.09 |  |
| 106 | Km56+501.20 | 87o07'00" | 35KV | 7.57 | 3 | 1 | 7.01 | 9.14 | 9.13 | Concrete |  |  | 0.30 | 31.14 | 19.65 |
| 107 | Km56+501.20 | 87o07'00" | 220V | 7.57 | 4 | 1 | 4.93 | 9.14 | 9.13 | Concrete |  |  | 0.30 | 31.14 | 19.65 |
| 108 | Km56+504.00 | 87o14'05" | 220V | 7.92 | 4 | 1 | 6.15 | 6.21 | 6.5 | Concrete | 0.25 | 0.30 |  | 30.80 | 17.00 |
| 109 | Km56+505.31 | 87o14'05" | TEL | 7.92 | 3 | 1 | 3 | 3.50 | 3.5 | Concrete | 0.20 | 0.20 |  | 30.80 | 17.00 |
| 110 | Km57+495.82 | 102o31'14" | TEL | 7.95 | 3 | 0 | 4.35 | 4.78 | 4.95 | Concrete | 0.15 | 0.20 |  | 33.71 | 2.49 |
| 111 | Km57+512.85 | 102o31'14" | 220V | 8.73 | 4 | 1 | 6.75 | 7.11 | 7.16 | Concrete | 0.25 | 0.30 |  | 27.50 | 12.30 |
| 112 | Km59+980.00 |  | 220V | 15.11 | 4 | 1 |  |  | 7.06 | Concrete |  |  | 0.20 |  | 12.30 |
| 113 | Km60+000.00 | 123o33'39" | 35KV | 15.35 | 3 | 1 | 9.75 | 10.88 | 10.13 | Concrete |  |  | 0.30 | 7.34 | 33.50 |
| 114 | Km60+000.00 | 123o33'39" | 220V | 15.35 | 4 | 1 | 6.25 | 10.88 | 10.13 | Concrete |  |  | 0.30 | 7.34 | 33.50 |
| 115 | Km60+040.00 | 111o13'58" | TEL | 15.82 | 3 | 0 | 3.91 | 5.61 | 4.62 | Concrete | 0.15 | 0.20 |  | 25.70 | 11.00 |
| 116 | Km60+050.00 | 111o13'58" | CS | 15.52 | 2 | 0 | 4.62 | 6.05 | 7.92 | Concrete |  |  | 0.20 | 12.09 | 30.38 |
| 117 | Km60+690.00 | 50o43'09" | 500KV | 20.53 | 14 | 2 | 14.89 | 36.08 | 28.21 | Steel | 6.00 | 6.00 |  | 86.60 | 80.00 |
| 118 | Km61+780.00 | 133o14'09" | 220V | 14.40 | 4 | 1 | 5.75 | 6.85 | 6.19 | Concrete |  |  | 0.25 | 7.70 | 22.10 |
| 119 | Km61+958.00 | 24o1'16" | TEL | 12.20 | 1 | 0 | 4.35 | 4.94 | 4.89 | Concrete |  |  | 0.20 | 8.69 | 11.38 |
| 120 | Km62+150.00 | 93o51'50" | 220KV | 11.14 | 8 | 4 | 22.87 | 47.26 | 40.66 | Steel | 4.00 | 4.00 |  | 60.00 | 103.00 |
| 121 | Km63+33.12 | 58o52'12" | 220V | 9.80 | 1 | 0 | 6.01 | 7.45 | 7.08 | Concrete |  |  | 0.20 | 10.00 | 24.00 |
| 122 | Km63+680.00 | 54o24'35" | 35KV | 14.28 | 3 | 1 | 7.71 | 9.45 | 9.29 | Concrete |  |  | 0.30 | 50.00 | 56.00 |
| 123 | Km63+694.50 | 54o50'49" | 35KV | 14.34 | 3 | 1 | 8.45 | 9.35 | 9.79 | Concrete |  |  | 0.30 | 24.00 | 35.80 |
| 124 | Km63+795.00 | 46o07'17" | TEL | 15.88 | 2 | 0 | 3.00 |  |  | Concrete |  |  |  | 51.70 | 10.80 |
| 125 | Km63+795.00 | 46o07'17" | 220V | 15.88 | 3 | 1 | 3.45 | 4.31 | 5.65 | Concrete | 0.15 | 0.20 |  | 51.70 | 10.80 |
| 126 | Km64+213.00 | 137o19'14" | 220V | 12.04 | 1 | 0 | 4.85 | 7.31 | 7.07 | Concrete |  |  | 0.20 | 18.80 | 16.00 |
| 127 | Km64+637.00 | 96o44'42" | TEL | 11.95 | 1 | 0 | 4.86 | 4.97 | 5.00 | Concrete |  |  | 0.20 | 24.50 | 7.50 |
| 128 | Km64+660.00 | 104o52'58" | 35KV | 11.90 | 3 | 1 | 8.67 | 8.95 | 9.04 | Concrete |  |  | 0.30 | 45.30 | 69.00 |
| 129 | Km64+670.00 | 82o37'00" | 110KV | 11.86 | 3 | 1 | 12.86 | 18.50 | 18.52 | Concrete |  |  | 0.30 | 77.00 | 74.70 |
| 130 | Km66+14.75 | 78o52'00" | 220V | 4.99 | 3 | 1 | 5.00 | 5.60 | 5.60 | Steel reinforced concrete | 0.20 | 0.20 |  | 36.58 | 43.97 |
| 131 | Km66+118.00 | 25o25'00" | 500KV | 4.97 | 6 | 2 | 14.60 | 34.00 | 34.00 | Iron | 8.76 | 7.32 |  | 111.56 | 100.19 |
| 132 | Km66+446.90 | 53o24'00" | TT | 4.34 | 1 | 0 | 6.00 | 6.45 | 6.50 | Steel reinforced concrete | 0.20 | 0.20 |  | 15.72 | 25.87 |
| 133 | Km66+446.90 | 53o24'00" | 10KV | 4.34 | 3 | 1 | 10.00 | 10.50 | 10.80 | Steel reinforced concrete |  |  | 0.25 | 10.79 | 37.60 |
| 134 | Km66+452.00 | 52o04'14" | 220V | 4.92 | 3 | 1 | 6.00 | 6.20 | 6.20 | Steel reinforced concrete | 0.20 | 0.20 |  | 47.69 | 0.37 |
| 135 | Km67+508.00 | 76o52'53" | 220V | 2.03 | 3 | 1 | 6.00 | 6.30 | 6.35 | Steel reinforced concrete | 0.20 | 0.20 |  | 14.30 | 10.16 |
| 136 | Km67+509.12 | 77o44'09" | 10KV | 2.03 | 3 | 1 | 10.00 | 11.10 | 10.80 | Steel reinforced concrete |  |  | 0.25 | 38.80 | 9.66 |
| 137 | Km67+599.40 | 70o38'41" | TT | 3.43 | 1 | 0 | 5.00 | 5.40 | 5.37 | Steel reinforced concrete | 0.20 | 0.20 |  | 23.36 | 13.91 |
| 138 | Km67+711.00 | 122o59'37" | 220V | 3.05 | 3 | 1 | 6.00 | 6.20 | 6.21 | Steel reinforced concrete | 0.20 | 0.20 |  | 11.06 | 14.70 |
| 139 | Km69+308.91 | 74o40'32" | TT | 5.30 | 1 | 0 | 5.00 | 5.40 | 5.35 | Steel reinforced concrete | 0.20 | 0.20 |  | 27.51 | 11.18 |
| 140 | Km69+308.98 | 61o33'55" | 220V | 5.66 | 3 | 1 | 5.00 | 5.60 | 5.55 | Steel reinforced concrete | 0.20 | 0.20 |  | 18.44 | 14.47 |
| 141 | Km69+384.85 | 84o29'00" | 10KV | 3.85 | 3 | 1 | 10.00 | 10.70 | 10.80 | Steel reinforced concrete |  |  | 0.25 | 77.57 | 43.64 |
| 142 | Km71+759.00 | 105o43'00" | 10KV | 7.51 | 3 | 1 | 10.00 | 10.50 | 10.80 | Steel reinforced concrete |  |  | 0.25 | 59.98 | 6.68 |
| 143 | Km73+318.80 | 56o37'00" | 220V | 6.05 | 3 | 1 | 6.00 | 6.55 | 6.60 | Steel reinforced concrete | 0.20 | 0.20 |  | 13.20 | 18.31 |
| 144 | Km81+325.60 | 34o53'44" | 6KV | 13.70 | 3 | 1 | 6.79 | 7.50 | 7.50 | Steel reinforced concrete |  |  | 0.30 | 35.78 | 5.91 |
| 145 | Km81+329.00 | 31o23'34" | TEL | 13.00 | 1 | 0 | 6.50 | 7.10 | 7.10 | Steel reinforced concrete |  |  | 0.20 | 15.20 | 3.70 |
| 146 | Km81+366.00 | 50o01'40" | 220V | 11.65 | 4 | 1 | 5.59 | 7.25 | 7.25 | Steel reinforced concrete |  |  | 0.20 | 24.87 | 1.43 |
| 147 | Km81+904.5 | 130o08'23" | 220V | 14.43 | 2 | 1 | 5.11 | 6.50 | 6.50 | Steel reinforced concrete | 0.20 | 0.20 |  | 6.14 | 20.00 |
| 148 | Km82+158.00 | 115o43'31" | TEL | 11.20 | 2 | 1 | 5.60 | 6.00 | 6.00 | Steel reinforced concrete |  |  | 0.20 | 52.90 | 9.60 |
| 149 | Km83+118.00 | 57o10'05" | 220V | 8.14 | 2 | 1 | 5.45 | 7.50 | 7.50 | Steel reinforced concrete |  |  | 0.20 | 5.48 | 33.43 |
| 150 | Km86+831.30 | 162o53'47" | TEL | 3.31 | 2 | 1 | 6.50 | 7.50 | 7.50 | Steel reinforced concrete |  |  | 0.20 | 22.91 | 2.00 |
| 151 | Km87+340 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 152 | Km87+577.30 | 54o30'52" | 220V | 1.85 | 2 | 1 | 6.48 | 7.00 | 7.00 | Steel reinforced concrete | 0.20 | 0.20 |  | 22.06 | 30.00 |
| 153 | Km87+600 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 154 | Km87+615.40 | 96o35'27" | 220KV | 3.52 | 2 | 1 | 5.98 | 6.90 | 6.90 | Steel reinforced concrete |  |  | 0.25 | 28.81 | 20.00 |
| 155 | Km87+764.30 | 118o55'32" | 35KV | 1.88 | 3 | 1 | 6.65 | 8.57 | 8.57 | Steel reinforced concrete | 0.20 | 0.35 |  | 75.38 | 8.46 |
| 156 | Km89+146.09 | 64o26'46" | 6KV | 15.77 | 3 | 1 | 8.50 | 8.80 | 8.80 | Steel reinforced concrete |  |  | 0.30 | 19.80 | 25.00 |
| 157 | Km89+498.8 | 70o33'22" | 220V | 4.06 | 2 | 1 | 6.94 | 7.50 | 7.50 | Steel reinforced concrete |  |  | 0.20 | 39.60 | 3.70 |
| 158 | Km91+069.90 | 160o22'54" | 500KV | 0.51 | 4 | 4 | 17.97 | 31.69 | 31.70 | Iron | 6.50 | 6.50 |  | 52.78 | 75.54 |
| 159 | Km92+315.00 | 25o59'50" | 500KV | 1.89 | 4 | 4 | 15.30 | 31.76 | 31.70 | Iron | 5.00 | 5.00 |  | 69.80 | 81.00 |
| 160 | Km93+380 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 161 | Km93+593.50 | 49o24'46" | 220V | 7.64 | 4 | 1 | 5.77 | 6.58 | 7.22 | Concrete |  |  | 0.30 | 18.71 | 12.95 |
| 162 | Km93+655.00 | 165o41'42" | 220V | 7.47 | 4 | 1 | 6.60 | 6.87 | 7.13 | Concrete |  |  | 0.30 | 2.53 | 5.38 |
| 163 | Km93+869.00 | 45o18'08" | 220KV | 12.78 | 3 | 2 | 29.62 | 31.60 | 45.56 | Iron | 5.00 | 5.00 |  | 135.00 | 85.00 |
| 164 | Km93+928.00 | 43o55'58" | 110KV | 7.29 | 4 | 4 | 35.30 | 31.60 | 42.29 | Iron | 5.00 | 5.00 |  | 136.00 | 54.10 |
| 165 | Km95+610 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 166 | Km95+641.63 | 100o06'35" | 6KV | 7.45 | 3 | 1 | 8.19 | 8.23 | 8.40 | Concrete |  |  | 0.35 | 11.62 | 37.11 |
| 167 | Km95+641.00 | 68o29'11" | 6KV | 6.22 | 3 | 1 | 6.83 | 10.29 | 11.21 | Concrete |  |  | 0.35 | 35.46 | 53.24 |
| 168 | Km95+915 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 169 | Km96+308.12 | 80o05'48" | 6KV | 8.20 | 3 | 1 | 6.83 | 7.86 | 7.86 | Concrete |  |  | 0.35 | 16.83 | 9.11 |
| 170 | Km97+138.70 | 102o58'59" | 6KV | 9.33 | 3 | 1 | 11.24 | 8.28 | 7.82 | Concrete |  |  | 0.35 | 57.56 | 34.98 |
| 171 | Km97+440.00 | 91o15'09" | 6KV | 6.41 | 3 | 1 | 8.42 | 8.60 | 9.53 | Concrete |  |  | 0.35 | 33.83 | 28.92 |
| 172 | Km97+569 |  | 220V |  |  |  |  |  |  |  |  |  |  |  |  |
| 173 | Km97+569.88 | 116o05'29" | 220V | 9.55 | 2 | 1 | 6.55 | 7.10 | 7.10 | Concrete |  |  | 0.20 | 21.56 | 4.67 |
| 174 | Km97+814.90 | 94o08'37" | 220V | 15.95 | 3 | 1 | 7.56 | 8.68 | 8.73 | Concrete |  |  | 0.35 | 1.16 | 28.29 |
| 175 | Km97+860.00 | 13o16'29" | 6KV | 10.97 | 3 | 1 | 7.45 | 9.25 | 9.33 | Concrete |  |  | 0.35 | 12.29 | 3.02 |
| 176 | Km98+840.00 | 9o36'53" | 110KV | 13.03 | 3 | 2 | 7.46 | 17.06 | 17.43 | Concrete |  |  | 0.40 | 19.30 | 1.55 |
| 177 | Km99+548 |  | 220V |  |  |  |  |  |  |  |  |  |  |  |  |
| 178 | Km99+617.00 | 91o43'48" | 15KV | 7.20 | 3 | 1 | 7.73 | 10.64 | 8.50 | Concrete |  |  | 0.35 | 39.89 | 25.76 |
| 179 | Km100+060.00 | 170o19'27" | 110KV | 5.26 | 3 | 1 | 16.90 | 17.93 | 17.08 | Concrete |  |  | 0.40 | 0.19 | 26.08 |
| 180 | Km100+507.63 | 100o28'02" | 220V | 2.52 | 2 | 1 | 6.81 | 7.37 | 7.37 | Concrete |  |  | 0.20 | 20.37 | 19.95 |
| 181 | Km101+000 | 112o33'22" | 110KV | 2.02 | 3 | 2 | 12.63 | 30.74 | 29.43 | Iron | 6.43 | 6.43 |  | 37.42 | 204.00 |
| 182 | Km101+373.70 | 96o07'50" | 15KV | 1.91 | 3 | 1 | 7.73 | 9.00 | 8.98 | Concrete |  |  | 0.35 | 9.28 | 57.17 |
| 183 | Km101+389.20 | 92o05'58" | TEL | 2.53 | 2 | 1 | 6.05 | 6.50 | 6.05 | Concrete |  |  | 0.20 | 6.32 | 35.13 |
| 184 | Km102+611.12 | 78o00' | TT | 3.33 | 1 |  | 4.5 | 4.7 | 4.7 | Concrete | 0.20 | 0.20 |  | 11.11 | 24.40 |
| 185 | Km102+682.53 | 81o31'31" | 35KV | 2.67 | 3 | 1 | 7.9 | 8.5 | 8.5 | Concrete |  |  | 0.35 | 24 | 52.13 |
| 186 | Km102+887.58 | 75o00' | TT | 4.01 | 1 |  | 4.3 | 4.5 | 4.5 | Concrete | 0.20 | 0.20 |  | 37.10 | 3.92 |
| 187 | Km103+099.83 | 93o29'13" | 110KV | 6.35 | 3 | 3 | 19.15 | 41.5 | 41.5 | Iron | 3.5 | 3.5 |  | 269.04 | 151.02 |
| 188 | Km103+257.03 | 91o11'14" | 500KV | 18.9 | 12 | 1 | 27.5 | 32.2 | 33.00 | Iron | 9.00 | 9.00 |  | 124.57 | 287.13 |
| 189 | Km103+302.70 | 91o33'10" | 500KV | 18.81 | 12 | 1 | 29.75 | 30.00 | 33.00 | Iron | 9.00 | 9.00 |  | 172.68 | 228.07 |
| 190 | Km104+737.70 | 47o39'00" | 110KV | 1.14 | 3 | 3 | 15.33 | 35.60 | 35.71 | Iron | 3.5 | 3.5 |  | 159.61 | 47.97 |
| 191 | Km105+660 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 192 | Km105+694.00 | 140o37'17" | 220V | 4.75 | 4 | 1 | 7.10 | 7.3 | 7.3 | Concrete |  |  | 0.25 | 6.1 | 19.9 |
| 193 | Km106+104.93 | 118o02'22" | 220V | 1.78 | 4 | 1 | 7.05 | 7.3 | 7.3 | Concrete |  |  | 0.25 | 10.5 | 31.3 |
| 194 | Km106+103.93 |  |  |  |  |  | 6.11 |  |  |  |  |  |  |  |  |
| 195 | Km106+300 | 132o00' | TT | 3.86 | 1 |  | 4.3 | 4.5 | 4.5 | Concrete | 0.20 | 0.20 |  | 16.70 | 24.10 |
| 196 | Km106+600 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 197 | Km106+701.90 | 52o02' | 220V | 4.58 | 4 | 1 | 7.05 | 7.3 | 7.3 | Concrete |  |  | 0.25 | 31.10 | 4.76 |
| 198 | Km106+759.64 | 120o37'50" | 6KV | 4.61 | 3 | 1 | 7.57 | 8.72 | 8.72 | Concrete |  |  | 0.35 | 25.6 | 50.4 |
| 199 | Km107+491.37 | 20o01'32" | 6KV | 1.04 | 3 | 1 | 6.39 | 8.5 | 8.5 | Concrete |  |  | 0.35 | 32.5 | 2.1 |
| 200 | Km107+660.42 | 30o14'43" | 220V | 5.09 | 4 | 1 | 4.75 | 5.17 | 5.17 | Concrete |  |  | 0.25 | 0.5 | 22.2 |
| 201 | Km107+834.77 | 109o00' | TT | 3.93 | 1 |  | 4.7 | 4.9 | 4.5 | Concrete | 0.20 | 0.20 |  | 13.25 | 62.00 |
| 202 | Km107+838.43 | 105o56'02" | 220V | 2.52 | 4 | 1 | 6.13 | 7.07 | 7.07 | Concrete |  |  | 0.25 | 18.9 | 24.8 |
| 203 | Km108+097.41 | 81o21'21" | 220V | 5.61 | 4 | 1 | 6.06 | 7.16 | 7.16 | Concrete |  |  | 0.25 | 0.7 | 39.5 |
| 204 | Km108+157.66 | 83o00' | TT | 5.70 | 1 |  | 4.4 | 4.6 | 4.6 | Concrete | 0.20 | 0.20 |  | 11.70 | 41.20 |
| 205 | Km108+160.40 | 83o32'27" | 6KV | 5.80 | 3 | 1 | 7.28 | 8.5 | 8.5 | Concrete |  |  | 0.35 | 42.7 | 57.3 |
| 206 | Km108+262.23 | 76o30'48" | 220V | 5.93 | 4 | 1 | 5.59 | 7.00 | 7.00 | Concrete |  |  | 0.25 | 19.9 | 27.8 |
| 207 | Km108+616.11 | 80o00'36" | 220V | 3.67 | 4 | 1 | 5.6 | 7.15 | 7.15 | Concrete |  |  | 0.25 | 0.7 | 41.19 |
| 208 | Km109+467.80 | 135o00' | TT | 3.64 | 1 |  | 4.5 | 4.7 | 4.7 | Concrete | 0.20 | 0.20 |  | 3.21 | 30.58 |
| 209 | Km109+746.23 | 105o57'49" | 220V | 8.67 | 4 | 1 | 5.5 | 7.00 | 7.00 | Concrete |  |  | 0.25 | 41.6 | 14.9 |
| 210 | Km109+818.16 | 91o00' | TT | 4.30 | 1 |  | 4.5 | 4.7 | 4.7 | Concrete | 0.20 | 0.20 |  | 17.00 | 30.92 |
| 211 | Km109+853.26 | 82o27'55" | 35KV | 3.87 | 3 | 1 | 6.5 | 7.5 | 7.5 | Concrete |  |  | 0.35 | 78 | 7.9 |
| 212 | Km114+938.49 | 73o05'18" | 220V | 20.18 | 4 | 2 | 6.50 | 7.02 | 7.03 | Steel reinforced concrete |  |  | 0.33 | 33.44 | 11.28 |
| 213 | Km116+494.44 | 51o32'14" | TT | 13.46 | 1 | 0 | 4.80 | 5.00 | 5.00 | Steel reinforced concrete | 0.25 | 0.30 |  | 9.27 | 37.84 |
| 214 | Km116+562.25 | 72o32'12" | TT | 14.33 | 1 | 0 | 4.65 | 5.00 | 5.00 | Steel reinforced concrete | 0.25 | 0.30 |  | 28.66 | 10.19 |
| 215 | Km119+123.90 | 116o56'38" | 6KV | 12.84 | 3 | 2 | 6.50 | 7.32 | 7.13 | Steel reinforced concrete |  |  | 0.33 | 28.23 | 62.02 |
| 216 | Km119+740.00 | 109o42'19" | 6KV | 19.50 | 3 | 2 | 6.56 | 7.22 | 7.33 | Steel reinforced concrete |  |  | 0.33 | 37.48 | 56.99 |
| 217 | Km120+164.30 | 96o55'24" | 220V | 14.70 | 4 | 1 | 6.65 | 7.12 | 7.16 | Steel reinforced concrete |  |  | 0.33 | 0.12 | 45.10 |
| 218 | Km119+165.20 | 109o18'56" | TT | 12.21 | 1 | 0 | 3.56 | 4.50 | 4.45 | Steel reinforced concrete | 0.15 | 0.20 |  | 8.91 | 18.75 |
| 219 | Km119+994.30 | 64o19'46" | TT | 15.27 | 1 | 0 | 3.62 | 4.35 | 4.42 | Steel reinforced concrete | 0.15 | 0.20 |  | 13.19 | 50.00 |
| 220 | Km122+260.00 | 119o54'36" | TT | 16.80 | 1 | 0 | 3.68 | 4.46 | 4.48 | Steel reinforced concrete | 0.15 | 0.20 |  | 19.29 | 11.42 |
| 221 | Km121+448.46 | 11o30'33" | 220V | 16.95 | 4 | 1 | 6.47 | 7.02 | 7.03 | Steel reinforced concrete |  |  | 0.33 | 8.54 | 1.92 |
| 222 | Km122+270.30 | 121o27'18" | 220V | 15.94 | 4 | 1 | 6.10 | 7.04 | 7.03 | Steel reinforced concrete |  |  | 0.33 | 14.78 | 26.33 |
| 223 | Km123+327.84 | 170o38'13" | 6KV | 10.72 | 3 | 2 | 6.10 | 7.24 | 7.35 | Steel reinforced concrete |  |  | 0.33 | 14.35 | 4.77 |
| 224 | Km124+142.20 | 30o21'10" | 6KV | 7.09 | 3 | 2 | 10.50 | 11.34 | 7.32 | Steel reinforced concrete |  |  | 0.33 | 0.37 | 49.96 |
| 225 | Km124+376.00 | 116o16'02" | 6KV | 6.78 | 3 | 2 | 9.15 | 11.08 | 7.21 | Steel reinforced concrete |  |  | 0.33 | 37.63 | 25.93 |
| 226 | Km124+540.00 | 103o41'04" | 220V | 10.39 | 3 | 2 | 6.15 | 7.24 | 7.21 | Steel reinforced concrete |  |  | 0.33 | 10.39 | 38.18 |
| 227 | Km126+029.00 | 110o35'28" | 220V | 8.79 | 4 | 1 | 14.11 | 5.22 | 5.44 | Steel reinforced concrete |  |  | 0.29 | 20.20 | 20.20 |
| 228 | Km126+256.80 | 72o30'27" | 6KV | 8.14 | 3 |  | 15.95 | 8.10 | 8.17 | Steel reinforced concrete |  |  | 0.30 | 60.00 | 37.20 |
| 229 | Km126+339.00 | 86o25'29" | 220V | 9.33 | 4 | 1 | 14.13 | 5.27 | 5.40 | Steel reinforced concrete |  |  | 0.30 | 23.50 | 25.25 |
| 230 | Km126+611.00 | 38o35'26" | TT | 8.30 | 1 |  | 12.80 | 5.35 | 5.44 | Steel reinforced concrete | 0.27 | 0.28 |  | 6.40 | 23.00 |
| 231 | Km127+766.50 | 48o58'30" | 220V | 7.07 | 4 | 1 | 13.97 | 7.03 | 7.10 | Steel reinforced concrete |  |  | 0.30 | 7.40 | 34.30 |
| 232 | Km127+961.50 | 86o27'53" | 220V | 11.88 | 3 |  | 17.10 | 5.80 | 5.87 | Steel reinforced concrete |  |  | 0.30 | 20.00 | 31.00 |
| 233 | Km128+207.00 | 23o50'54" | TT BC | 14.32 | 4 | 1 | 21.19 | 7.10 | 7.20 | Steel reinforced concrete | 0.28 | 0.28 |  | 26.17 | 8.50 |
| 234 | Km128+212.50 | 23o50'54" | 220V | 14.06 | 2 |  | 18.98 | 5.81 | 5.87 | Steel reinforced concrete |  |  | 0.30 | 8.50 | 1.80 |
| 235 | Km128+412.00 | 90o00'00" | 6KV | 12.66 | 3 |  | 21.76 | 10.60 | 10.71 | Steel reinforced concrete |  |  | 0.31 | 15.60 |  |
| 236 | Km129+452.50 | 61o21'00" | 15KV | 8.54 | 3 |  | 14.24 | 6.25 | 6.33 | Steel reinforced concrete |  |  | 0.31 | 60.70 | 20.20 |
| 237 | Km129+740.30 | 51o00'00" | 35KV | 6.83 | 3 |  | 15.63 | 10.90 | 11.03 | Steel reinforced concrete |  |  | 0.31 | 8.70 | 46.50 |
| 238 | Km129+874.00 | 19o52'16" | 35KV | 6.66 | 3 |  | 14.08 | 8.01 | 8.14 | Steel reinforced concrete |  |  | 0.31 | 7.00 | 5.65 |
| 239 | Km130+532.40 | 58o46'50" | 35KV | 6.80 | 3 |  | 16.12 | 9.87 | 10.02 | Steel reinforced concrete |  |  | 0.32 |  | 6.16 |
| 240 | Km131+794.14 | 158o00'00" | 220V | 7.73 | 4 | 1 | 14.53 | 6.93 | 7.01 | Steel reinforced concrete |  |  | 0.29 | 7.85 | 1.00 |
| 241 | Km131+896.00 | 19o32'12" | 220V | 8.97 | 4 | 1 | 16.57 | 7.70 | 7.81 | Steel reinforced concrete |  |  | 0.29 | 5.30 | 1.90 |
| 242 | Km132+043.70 | 171o49'06" | 220V | 7.78 | 4 | 1 | 14.38 | 6.65 | 6.72 | Steel reinforced concrete |  |  | 0.29 | 0.90 | 3.90 |
| 243 | Km133+323.70 | 144o40'38" | 15KV | 5.16 | 3 |  | 14.11 | 8.55 | 8.67 | Steel reinforced concrete |  |  | 0.31 | 45.87 | 13.38 |
| 244 | Km133+908.30 | 68o00'00" | TTBC | 5.97 | 2 |  | 11.37 | 6.10 | 6.00 | Steel reinforced concrete | 0.28 | 0.30 |  | 35.35 | 35.00 |
| 245 | Km133+912.00 | 68o00'00" | 220V | 6.02 | 4 | 1 | 12.72 | 6.95 | 7.00 | Steel reinforced concrete |  |  | 0.30 | 15.86 | 14.50 |
| 246 | Km134+934.00 | 33o05'00" | TT | 5.58 | 12 | 2 | 11.18 | 6.30 | 6.35 | Steel reinforced concrete | 0.27 | 0.28 |  | 15.90 | 13.70 |
| 247 | Km135+103.30 | 93o20'00" | 220V | 6.31 | 4 | 1 | 13.61 | 7.45 | 7.47 | Steel reinforced concrete |  |  | 0.29 | 4.00 | 52.00 |
| 248 | Km135+552.00 | 115o25'45" | 220V | 5.59 | 4 | 1 | 11.54 | 6.11 | 6.07 | Steel reinforced concrete |  |  | 0.29 | 7.40 | 50.20 |
| 249 | Km136+894.00 | 117o21'08" | 220V | 7.73 | 4 | 1 | 11.83 | 6.35 | 6.24 | Steel reinforced concrete |  |  | 0.29 | 48.00 | 12.00 |
| 250 | Km137+692.33 | 91o50'29" | 15KV | 4.24 | 3 |  | 13.19 | 9.30 | 9.25 | Steel reinforced concrete |  |  | 0.31 | 51.30 | 0.90 |
| 251 | Km138+361.30 | 125o24'00" | 15KV | 4.08 | 3 |  | 13.08 | 10.10 | 10.15 | Steel reinforced concrete |  |  | 0.30 | 39.50 | 33.00 |
| 252 | Km139+118.20 | 146o24'23" | 220V | 3.29 | 4 | 1 | 9.49 | 6.13 | 6.00 | Steel reinforced concrete | 0.27 | 0.26 |  | 3.00 | 21.00 |
| 253 | Km139+156.55 | 60o00'00" | 220V | 3.18 | 4 | 1 | 9.63 | 7.04 | 6.95 | Steel reinforced concrete |  |  | 0.28 | 19.00 | 23.00 |
| 254 | Km139+166.57 | 60o00'00" | 35KV | 3.23 | 3 |  | 10.53 | 8.32 | 8.47 | Steel reinforced concrete |  |  | 0.30 | 25.00 | 48.24 |