Ministry of Physical Infrastructure and Transport, Department of Roads

Government of Nepal

Nagdhunga Tunnel Construction Project

# Loan Agreement No. (NE-P10)

# Contract No. DOR - NTCP -W-ICB-01

Bidding Documents

Part 2: Works Requirements

(SECTION VI)

PART 2 –Works Requirements

Section VI.	Works Requirements

# VI-A:	Scope of Works (SOW)

# VI-B:	Standard Specifications 	(SS)

# VI-C:	Special Provisions to Standard Specifications (SPSS)

# VI-D:	Drawings

# VI-E:	Personnel Requirements (PR)

# VI-F:	Equipment Requirements (ER)

# VI-G:	Tunnel Facilities Requirements (TFR)

# VI-H:	Prefabricated Septic Tank Requirements

# VI-I:	Standard Specifications for Water Supply Works 	(SSWS)

# VI-J:	Drawings – Water Supply Works

# VI-A: SCOPE OF WORKS

- Background of the Project

The Department of Roads conducted a feasibility study on tunnel construction projects in February 2013 for Nagdhunga - Naubise and Tokha - Gurje sectors.

Based on the feasibility study, the Japan International Cooperation Agency (JICA) conducted the Data Collection Survey on Thankot Area Road Improvement in Nepal aiming to gather information of existing road conditions and environmental and social consideration for the section between Kalanki and Naubise and submitted a report in July 2014. JICA also conducted a feasibility study, the Preparatory Survey for Nagdhunga Tunnel Construction in Nepal in 2014 - 2015.

Through the above three studies, Nagdhunga Tunnel Construction Project (the Project) constructing a tunnel under Nagdhunga Pass, which is located on Tribhuvan Highway connecting Kathmandu and the Indian border and the first road tunnel in Nepal.

On 22 December 2016, a loan agreement was signed between the Government of the Federal Democratic Republic of Nepal and JICA to provide a Japanese ODA loan to implement the Project. .

- Objectives

The objective of the Project is to improve the road condition around Nagdhunga pass by constructing a tunnel thereby contributing to smooth transportation network between Kathmandu and other principal cities and/or area in Nepal. The tunnel is expected to improve the alignment of the exiting road, reduce the travel time, improve the traffic safety and contribute to the economic development of the country.

- Project Location

The location of the Project is shown in Figure 1.1.

Figure 1.1	Location of the Project

- Key Components of the Project

The Project has been composed of the following 8 components.

- Construction of a road-tunnel (2,688m in length, 2 lanes each of 3.5m, a median 1.5m wide, shoulders 0.5m wide at both sides, total carriage way of 9.5m wide).

- Construction of eastern approach road (2,307m in length) and western approach road (565m in length).

- Construction of 1 intersection and 1 interchange on Tribhuvan highway.

- Construction of 7 bridges and 11 box-culverts.

- Construction of toll-gate facilities.

- Construction of traffic monitoring/control and maintenance office buildings.

- Disposal area development (Construction of Roadside Service Station).

- Construction of transmission line.

- Time for Completion (calculated from the Commencement Date)

1,260 days for the works + 365 days of the Defects Notification Period.

# VI-B: Standard Specifications (SS)

Section VI-B: Standard Specifications (SS)

The Standard Specifications for this contract shall be the “Standard Specifications for Road and Bridge Works – ASAD 2058”, edited by the Department of Roads, Ministry of Physical Structure and Transport, Government of Nepal.

The Standard Specifications may be purchased from the Department of Roads, Central Road Laboratory, Kupondole, Lalipur.

The Standard Specifications are linked with the Special Provisions to Standard Specifications (SPSS) referred to as Section VI-C by the corresponding numbering of Clauses so that Sections VI-B and VI-C together comprise the specifications that shall be respected for performing the works of the Project.

# VI-C:	Special Provisions to Standard Specifications (SPSS)

Section VI-C:

Special Provisions to the Standard Specifications (SPSS)

The Special Provisions to Standard Specifications are set out below (the sub-clauses of the standard specifications that were not modified by these provisions shall remain and shall be respected).

The Special Provisions (Volume-I and Volume-II) contained herein shall be read in conjunction with the Standard Specifications and shall supplement, replace or supersede the Standard Specifications as appropriate. Where there is any ambiguity or discrepancy between the Standard Specifications and the Special Provisions; the Special Provisions shall have preference, prevail and shall govern.

[Refer to separate volumes as per the Section VI-C: Special Provisions to the Standard Specifications (SPSS) Volume-I and Volume-II]

# VI-D:  Drawings

[Refer to a separate volume as per the Section VI-D: Drawings]

# VI-E:  Personnel Requirements (PR)

Section VI-E: Personnel Requirements (PR)

##### (i) General Requirement:

The Contractor shall mobilize key personnel for at least the following key positions for the execution of the Works.

- Project Manager

- Tunnel Superintendent

- Tunnel Facility Superintendent

- Pavement Superintendent

- Building Superintendent

- Structure Superintendent

- Quality Control Manager

- Health & Safety Manager

- Environment Protection Manager

- Plant & Equipment Maintenance and Management Manager

The key personnel for the key positions stated above shall meet the following general requirements:

| ##### No. | ##### Position | ##### Total Work Experience (years) | ##### Experience in Similar Works |  |
| --- | --- | --- | --- | --- |
|  |  |  | ##### years | ##### works |
| ##### 1 | ##### Project Manager (P/M) | ##### 25 | ##### 15 | ##### 2 or more tunnel projects as P/M |
| ##### 2 | ##### Tunnel Superintendent (T/S) | ##### 15 | ##### 10 | ##### 2 or more tunnel projects as T/S |
| ##### 3 | ##### Tunnel Facility Superintendent | ##### 15 | ##### 5 | ##### At least one project as same position |
| ##### 4 | ##### Pavement Superintendent | ##### 15 | ##### 5 | ##### At least one project for concrete pavements as same position |
| ##### 5 | ##### Building Superintendent | ##### 15 | ##### 5 | ##### At least one project for building construction as same position |
| ##### 6 | ##### Structure Superintendent | ##### 15 | ##### 5 | ##### At least one project for construction of bridges or other structures as same position |
| ##### 7 | ##### Quality Control Manager | ##### 10 | ##### 5 | ##### At least one project working at same position |
| ##### 8 | ##### Health & Safety Manager | ##### 10 | ##### 5 | ##### At least one project working at same position, and/or experience with JICA guideline for safety control. |
| ##### 9 | ##### Environment Protection Manager | ##### 10 | ##### 5 | ##### At least one project working at same position, and/or experience with JICA guideline for environmental protection. |
| ##### 10 | ##### Plant & Equipment Maintenance and Management Manager | ##### 10 | ##### 5 | ##### At least one project working at same position. |

##### (ii) Specific Requirements for Key Personnel:

Key personnel occupying the positions of Project Manager and Tunnel Superintendent shall meet all the specific requirements set forth as follows:

| ##### No. | ##### Position | ##### Specific Experience | ##### Minimum Requirement |
| --- | --- | --- | --- |
| ##### 1 | ##### Project Manager | - Experience working in mountain tunnel construction projects as a project manager | ##### 10 years or more in total |
|  |  | - Experience working in mountain road tunnel (more than 75 sq.m in cross section) construction projects applying NATM method where support patterns were designed by the geological rock classification method based on spacing of cracks, elastic wave velocity and RQD | ##### 2 projects or more |
| ##### 2 | ##### Tunnel Superintendent | - Experience working in mountain tunnel construction projects as a tunnel superintendent | ##### 10 years or more in total and more than 2 projects |
|  |  | - Experience working in mountain road tunnel (more than 75 sq.m cross section) construction projects applying NATM method where support patterns were designed by the geological rock classification method based on spacing of cracks, elastic wave velocity and RQD | ##### 1 project or more |

# VI-F: Equipment Requirements (ER)

##### Section VI-F: Equipment Requirements (ER)

The Contractor shall mobilize equipment in accordance with the specifications of Section VIII: Particular Conditions of Contract, Part B: “Specific Provisions”, Sub-Clause 4.17: “Contractor’s Equipment”.

The following minimum requirements shall be specifically satisfied:

##### Requirement-1

Number of equipment to be mobilized in the Project shall be in accordance with the Construction Programme and Method Statement.

##### Requirement-2

The equipment shall satisfy the requirements of Clause 22 Miscellaneous in the Finance Act 2017, GON when the Contractor import it.

##### Requirement-3

The equipment shall be of the same type or better (newest model) than those used in projects which have operational experiences in other similar projects.

##### Requirement-4

The equipment shall meet the requirements for exhaust gas condition of the Nepal Vehicle Mass Emission Standard 2012 (Euro 3).

##### Requirement-5

The equipment shall meet the exhaust gas requirements shown in following Table-1:

| Gas type | HC | NOx | CO | PM | Black smoke (Note) |
| --- | --- | --- | --- | --- | --- |
| Engine power | (g/kw.h) | (g/kw.h) | (g/kw.h) | (g/kw.h) | (%) |
| 15kw>P≧7.5kw | 2.4 | 12.4 | 5.7 | - | 50 (10) |
| 30kw>P≧15kw | 1.9 | 10.5 | 5.7 | - | 50 (10) |
| 272kw>P≧30kw | 1.3 | 9.2 | 5.0 | - | 50 (10) |

Note:

The equipment used for tunnel construction shall be provided with a device for Black Smoke purification.

Measurement method of HC, NOx, CO and PM shall be JIS B 8008. Measurement method of black smoke shall be JCMAS T 004-1995.

##### Requirement-6

The equipment shall meet the exhaust gas requirements shown in following Table-2:

| Gas type | HC | NOx | CO | PM | Black smoke (Note) |
| --- | --- | --- | --- | --- | --- |
| Engine power | (g/kw.h) | (g/kw.h) | (g/kw.h) | (g/kw.h) | (%) |
| 19kw>P≧8kw | 1.5 | 9.0 | 5.0 | 0.8 | 40 (8) |
| 37kw>P≧19kw | 1.5 | 8.0 | 5.0 | 0.8 | 40 (8) |
| 75kw>P≧37kw | 1.3 | 7.0 | 5.0 | 0.4 | 40 (8) |
| 130kw>P≧75kw | 1.0 | 6.0 | 5.0 | 0.3 | 40 (8) |
| 560kw>P≧130kw | 1.0 | 6.0 | 3.5 | 0.2 | 40 (8) |

Note:

The equipment used for tunnel construction shall be provided with a device for Black Smoke purification.

Measurement method of HC, NOx, CO and PM shall be JIS B 8008. Measurement method of black smoke shall be JCMAS T 004-1995.

# VI-G: Tunnel Facilities Requirements (TFR)

Section VI-G:

Tunnel Facilities Requirements (TFR)

The permanent tunnel facilities supplied and installed for the Project, shall require actual records and evidences of its installation and proper function in more than one tunnel currently under operation at least for the following items:

- Remote monitoring and control system (Refer to Clause 5400-3.7 of SPSS, Drawing No. TW-MS-020)

- Jet fans (Refer to Clause 5500-4.4 of SPSS, Drawing No. TW-VS-040)

- Inverter jet fan control board (Refer to Clause 5500-3.7 of SPSS, Drawing No. TW-VS-150)

- Air flow direction and velocity meter (Refer to Clause 5500-5.5 of SPSS, Drawing No. TW-VS-110)

- Carbon monoxide sensor (Refer to Clause 5500 of SPSS, Drawing No. TW-VS-100)

- Soot visibility measure (Refer to Clause 5500-5.3 of SPSS, Drawing No. TW-VS-080)

- Basic lighting lamp (Refer to Clauses 5200-2.6 and 4.2 of SPSS, Drawing No. TW-LS-020)

- CCTV system (Refer to Clause 5400-6.7 of SPSS, Drawing No. TW-CS-010)

- Alert displays (Refer to Clause 5300-2.6 of SPSS, Drawing No. TW-ES-120)

- Diesel generators (Refer to Clause 5100-5.5 of SPSS, Drawing No. TW-PS-350)

# VI-H: Prefabricated Septic Tank Requirements

Section VI-H: Prefabricated Septic Tank

The prefabricated septic tank (Capacity not less than 136m3 per day) to be installed in Roadside Service Station shall be a product of which structure, specification and structural calculation has been certified by an official agency.

# VI-I:	Standard Specifications for Water Supply Works (SSWS)

Section VI-I: Standard Specifications for Water Supply Works (SSWS)

These Standard Specifications for Water Supply Works (SSWS) specifically cover the requirements for Construction of Water Supply Scheme(s) at Chandragiri Municipality as part of the Nagdhunga Tunnel Construction Project in accordance to the Loan Agreement No. NE-P10 of Japanese ODA to implement the Project.

They shall be read in conjunction with the Conditions of Contract, the Bills of Quantities (BOQ, Water Supply Works) and the Drawings (Drawings – Water Supply Works)

These Specification cover the Works (Water Supply Works) under the Contract. If the Contractor requires additional specifications for more explicit description of the Works or to supplement the existing specifications, or any other specifications to complete the Works, the contractor shall submit such additional or supplementary specifications for the approval by the Engineer. All costs incurred for the additional or specifications under the clause are deemed to be included in other unit rates quoted in the Bill of Quantities (Water Supply Works)

# VI-J:  Drawings – Water Supply Works

[Refer to a separate volume as per the Section VI-J: Drawings - Water Supply Works]